| Turkish Line تركش لاين |  |  |
| --- | --- | --- |
| Date: 23-10-2025 Ref: TLS_QT_1691/23 QUOTIATION From: To: اركان لابن سرفيس Turkish Line Service 5555 0268 Mob: 50296868 / 31298567 Address: Ankhalid E Turkish-line@hotmail.com SL; Brand; Description; Qty; Unit Price; Extended Price. IP CCTV System. 1.; Hikvision; 8MP AcuSense Smart Hybrid Light Bullet Camera, IR+White up to 40m, Dual Mic Audio, Human & Vehicle Classification, H.265+, WDR 120dB, IP67, 12VDC/PoE, Lens: 2.8mm / 4mm / 6mm.; 4; 685; 2,740. 2.; Hikvision; 8MP Hikvision AcuSense Bullet Camera with smart human/vehicle detection, IR + white light night vision, dual-mic audio, H.265+ compression, 120 dB WDR, and IP67 weather protection.; 4; 795; 3,180. 3.; Hikvision; 4 MP Bullet Camera, Smart Hybrid Light, Human & Vehicle Detection, Built-in Mic, H.265+ Compression, 30m Night Vision, IP67 Weatherproof, Support up to 512GB SD Card, Two-Way Audio, 3.6mm Lens, Support TVI/AHD/CVI/CVBS Video Output; 2; 465; 930. 4.; --------; Hard Drive 6TB: A 6TB Hard Drive is used in CCTV systems to store long-duration video recordings from multiple security cameras.; 1; 675; 675. 5; --------; DS-7616NI / 16P NVR is a 16-channel Hikvision Network Video Recorder with 16 PoE ports, used to connect and record IP cameras, providing central storage, playback, and remote monitoring for CCTV systems.; 1; 1,115; 1,115. 6; PVCPIPES,BOXES,JUNCTION,CABLING(RJ45),Installation,Testing and Configuration(per point); 10; 250; 2,500. Total(QAR); 11,140. Shall you require further information about this proposal, please feel free to contact with the above to inquiry about any of the specifics of this quotation. TERM & CONDITIONS All prices are in QAR. 50% Advance Payment by signing the contract. 40% Before Delivering Material. 10% By completing out of Project. 2-3 weeks. 1 Year for Equipement. Thank You. Turkish Line Service |